SYTOX staining for yeast flow

This is a replacement for the old propidium iodide staining

CARE! This protocol uses large amounts of RNAse A. To protect your future RNA experiments, take the following precautions:

  - Use our designated RNase pipettes to handle RNAse A solutions

  - Use filter tips to handle RNase A stock solution

  - Spin tubes containing RNase A solutions before opening

  - Discard RNAse A waste and contaminated plasticware directly into waste bin - not your tip waste or a beaker that may be reused

  - Treat RNase A stock like it is toxic even if it isn’t

Resuspend 1-10 million yeast cells in 300 µl PBST, add 4 µl 20 mg/ml RNase A

Incubate overnight at 37°C

Pulse to 10k to pellet cells, remove RNase A solution

Wash cells with 300 µl PBST

Resuspend cells in 100-1000 µl of PBST (depending on how many cells stained) + 1 µM SYTOX (from 5 mM stock in DMSO, so 1:5,000)

Let cells stain overnight at 4°C or for 1 hour at room temperature

Run directly on flow

* NOTE: If the samples are going to run on the ImageStream, this protocol will generate overstained samples. Either reduce the staining (i.e. use less Sytox, shorter incubation), or run the samples on a conventional flow cytometer such as the Fortessa.

PBST: PBS + 0.01% Triton X100