Basic cloning

A basic cloning reaction involves putting one piece of DNA (the insert) into a plasmid backbone (also called a vector) that can be replicated in E. coli. The insert DNA is usually obtained by PCR. In the simplest cloning, PCR primers are designed that will amplify a piece of DNA and add restriction enzyme sites to each end. This insert is digested with appropriate restriction enzymes, as is the plasmid backbone, and the two pieces of DNA are ligated together to give the desired product.

What restriction enzymes should I use?

There are a huge number of restriction enzymes available, but it is best to stick to the common ones as they tend to work better. For a standard cloning you should consider:

- The chosen enzymes must not cut within the insert

- The chosen enzymes must cut the plasmid backbone only at the insertion point

- The enzymes should cut 100% in the same buffer (see the NEB catalogue for this information). 75% is acceptable if there is no alternative. Be careful with NEB HiFi enzymes as these have different buffer preferences.

- The enzymes should not have compatible sticky ends

- Both enzymes (one at least) should cut to give sticky ends, not blunt ends

- Both enzymes should preferably be already in the lab (check the enzymes box)

This is a list of good enzymes for standard cloning:

BamHI		BglII		ClaI 		EcoRI		HindIII		KpnI

NcoI		NdeI		NotI		PstI		SacI		SalI

SpeI		SphI		XbaI		XhoI

Cloning steps

- PCR is used to create the DNA insert(s), with primers carrying restriction sites at the 5’ end

- A plasmid backbone is obtained (usually by growing cells containing the plasmid from a frozen stock and extracting plasmid DNA)

- The PCR insert is digested and gel extracted

- The plasmid backbone is digested and purified by gel extraction

- The insert is ligated into the plasmid backbone

- The ligation is transformed, colonies grown up and plasmid DNA extracted

- Test digests are used to ensure that the PCR product has been successfully integrated in plasmid backbone

- The insert (if derived by PCR) is sequenced

PCR to create insert

Primer design: Design oligos to amplify your DNA of interest (see PCR protocol). Add restriction sites to the 5’ ends, followed by 10bp of junk. Restriction enzymes cut poorly at the ends of fragments, so the 10bp of junk dramatically improves digestion

50(l PCR using Phusion, restriction sites for cloning should be on the end of oligos

10(l 5x buffer

0.2(l each 100(M oligo

1(l 10mM dNTPs

1(l DNA template

0.5(l Phusion Hot-start (NEB)

dH2O to 50(l

PCR conditions:	Annealing step should be at Tm of primers +3( (based on value calculated by VectorNTI/SeqBuilder). This is for Tm of 50(:

98(	30s

98(	10s		\

53(	10s		 | x 35 cycles

72(	15-30s/kb	/

72(	5min

4(	hold

Run out 5(l PCR to check that there is a single band of the correct size, and purify the rest of the PCR using a QIAQuick PCR purification kit, elute in 34(l.

Digestion of insert and backbone

Add to the insert: 	4µl 10x restriction buffer

1µl each restriction enzyme

Incubate at 37( for 1 hour

Meanwhile, digest the plasmid backbone:

500ng plasmid DNA in 34µl total volume

4µl 10x restriction buffer

1µl each restriction enzyme

Incubate at 37( for 1 hour

Run the entire products of both digests on a 1% agarose gel containing SYBR Safe and extract the required bands under blue light not UV. Do NOT image the gel using the UV transilluminator prior to gel extraction – this massively reduces efficiency

Purify bands using a QIAQuick gel extraction kit, elute in 30(l

Ligations

Set up ligations as follows:

| water | 6 µl | - | 3 µl |
| --- | --- | --- | --- |
| vector | 2µl | 2µl | - |
| insert | - | 6µl | - |
| ladder | - | - | 5(l |

Add 1(l 10x ligase buffer and 1(l T4 ligase (NEB), incubate 30min at RT or overnight at 16(

If ligated vector will be larger than ~5kb, overnight at 16( can be necessary.

Ligase buffer should be thawed at RT (not 37( - bad for the ATP and DTT) then vortexed until white precipitate (DTT) dissolves.  If ligations fail it is normally the buffer not the ligase that is at fault.

Visualise the ladder ligation on a 1% agarose gel.

The ladder ligation should contain almost entirely high molecular weight species.  If it still looks ladder-like, repeat the ligations with fresh ligase and buffer.

Transform 5(l of the first two ligations in 50(l competent cells. We normally use Invitrogen subcloning grade DH5α cells, transformed as recommended

Miniprep 2-6 colonies and perform test digests. Try to select restriction enzymes that will produce a clearly defined product that is different between the desired product and the plasmid backbone alone.

Test digest: 	2µl DNA

1µl 10x restriction enzyme buffer

water to 9.6µl

0.2µl (2-4U) each enzyme

Variations:

Multi-fragment ligations

You can easily ligate two inserts into the plasmid backbone at once if building a complex plasmid, just make sure that the sticky ends of the different fragments can only be combined in the desired way. We routinely do four fragment ligations, but these are a little less reliable.

Cloning into a single restriction enzyme site

It is sometimes necessary to use an insert with the same restriction site at either end to clone into a single site in the backbone plasmid. In this case, proceed as normal, but after digesting the plasmid backbone for 1 hour, add 1U CIP and incubate at 37( for a further hour. Proceed to ligation as normal, but when screening colonies use restriction enzymes that will reveal the orientation of the insert.

Ligation of oligo fragments

A small insert can be made by annealing two oligos. The oligos should be designed so that when they are annealed they will leave sticky ends compatible with the cut plasmid backbone.

Mix 45(l each 100pM/(l oligo (not phosphorylated) and 10(l 10x restriction enzyme buffer (any) – heat to 95( and slow cool to RT

Continue directly to the ligation without gel purification or any other cleaning step

If ligating into a single site in the plasmid backbone, design your oligos so that in the ligated product the restriction site is destroyed. Do not CIP treat the plasmid backbone. Perform the ligation in an appropriate restriction enzyme buffer +1mM ATP and 0.25(l restriction enzyme, and after ligation heat inactivate the ligase and digest 1 hour at 37( with another 0.25(l restriction enzyme.

Generating blunt ends

This protocol will blunt one end of the DNA, in general clonings with one blunt end work well, clonings with all blunt ends are harder to control.

Digest the DNA with the restriction enzyme that needs to be blunted, using a normal 50µl digest as described earlier. Then chill the reaction to 12(, add 0.5µl 10mM dNTPs and 0.33µl T4 DNA polymerase, incubate for 15min at 12(. Add 1µl 0.5M EDTA and incubate 20min at 75(. Clean the DNA through a QIAQuick column, elute in 44µl. Add the buffer and restriction enzyme for the second digestion and proceed as normal.

T vector cloning

To add A overhang to PCR product:

Mix

30(l purified PCR product

0.6(l dNTPs

3(l 10x ThermoPol buffer

0.3(l Taq (NEB)

Incubate at 65( for 2 minutes

To 1.5(l tailed PCR product add the following from T-Vector kit (Promega):

2.5(l 2x ligase buffer

0.5(l pGEM-Teasy

0.5(l Ligase

Incubate at room temperature for 30 minutes (can reduce if desperate)

Transform ligation into 50(l DH5( cells, remember to spread 40(l 20mg/ml X-Gal in DMF on each plate before spreading the transformed cells

# Footnotes

In our hands, using blue light for gel extraction not UV is THE thing that makes cloning work!